## Naini I
Naini-I STP, 80 MLD STP at Prayagraj INLET FLOW & QUALITY REPORT
Date | Daily Feed Quantity MLD (Design- 80 MLD) |  | pH |  | BOD (mg/l) |  | COD (mg/l) |  | TSS (mg/l) |  | FECAL COLIFORM |  | FRC | DEWATERED SLUDGE |  | REMARKS
| M3 | MLD | Inlet pH (Design- <9) | Final BOD (Design- 6.5 to 9.0) | Inlet BOD (Design- <250 mg/l) | Final BOD (Design - <30 mg/l) | Inlet COD (Design- <500 mg/l) | Final COD (Design - <50 mg/l) | Inlet TSS (Design- <500 mg/l) | FinalTSS (Design - <50 mg/l) | Inlet (Design - NA) | Final (Design - <1000 MPN/100 ml) | Final (Design - 0.2 mg/l) | Outlet Concentration (>20%) | Fecal Coliform (20,00,000 MPN/gTS)
2022-02-01 | 114460 | 114.46 | 7.28 | 7.33 | 143 | 21 | 352 | 40 | 308 | 32 | NA | 500 | 0.3 | 23.5 | 1700000
2022-02-02 | 116660 | 116.66 | 7.33 | 7.38 | 136 | 23 | 348 | 44 | 314 | 34 | NA | 600 | 0.2 | 24.5 | 1200000
2022-02-03 | 110760 | 110.76 | 7.28 | 7.36 | 129 | 18 | 336 | 36 | 312 | 30 | NA | 700 | 0.3 | 24.6 | 1300000
2022-02-04 | 114170 | 114.17 | 7.36 | 7.39 | 139 | 22 | 352 | 44 | 308 | 32 | NA | 400 | 0.2 | 24.5 | 1100000
2022-02-05 | 103810 | 103.81 | 7.33 | 7.37 | 133 | 20 | 340 | 40 | 311 | 35 | NA | 700 | 0.3 | 24.6 | 1700000
2022-02-06 | 116260 | 116.26 | 7.32 | 7.35 | 146 | 24 | 356 | 48 | 313 | 31 | NA | 500 | 0.2 | 24.5 | 1200000
2022-02-07 | 117850 | 117.85 | 7.33 | 7.39 | 139 | 18 | 328 | 36 | 306 | 28 | NA | 600 | 0.3 | 24.3 | 1300000
2022-02-08 | 109840 | 109.84 | 7.28 | 7.35 | 143 | 20 | 344 | 44 | 309 | 30 | NA | 400 | 0.2 | 24.5 | 1700000
2022-02-09 | 111190 | 111.19 | 7.31 | 7.33 | 129 | 21 | 332 | 40 | 303 | 31 | NA | 500 | 0.3 | 24.4 | 1100000
2022-02-10 | 113750 | 113.75 | 7.28 | 7.34 | 136 | 23 | 340 | 48 | 307 | 33 | NA | 600 | 0.3 | 25.2 | 1200000
2022-02-11 | 111500 | 111.5 | 7.33 | 7.38 | 146 | 21 | 360 | 44 | 312 | 35 | NA | 700 | 0.2 | 25.4 | 1300000
2022-02-12 | 111420 | 111.42 | 7.33 | 7.38 | 143 | 18 | 352 | 36 | 305 | 32 | NA | 500 | 0.3 | 25.6 | 1400000
2022-02-13 | 111750 | 111.75 | 7.38 | 7.48 | 146 | 20 | 356 | 40 | 313 | 30 | NA | 400 | 0.2 | 25.2 | 1200000
2022-02-14 | 109450 | 109.45 | 7.33 | 7.37 | 143 | 22 | 334 | 44 | 307 | 34 | NA | 600 | 0.3 | 25 | 1700000
2022-02-15 | 110210 | 110.21 | 7.31 | 7.38 | 149 | 18 | 360 | 36 | 309 | 32 | NA | 700 | 0.2 | 25.8 | 1100000
2022-02-16 | 109270 | 109.27 | 7.28 | 7.34 | 136 | 20 | 348 | 48 | 313 | 30 | NA | 400 | 0.3 | 25.6 | 1400000
2022-02-17 | 108730 | 108.73 | 7.33 | 7.36 | 146 | 21 | 356 | 44 | 311 | 35 | NA | 500 | 0.2 | 25.8 | 1300000
2022-02-18 | 113280 | 113.28 | 7.29 | 7.32 | 139 | 19 | 344 | 40 | 307 | 32 | NA | 600 | 0.3 | 25.4 | 1700000
2022-02-19 | 112790 | 112.79 | 7.34 | 7.38 | 149 | 23 | 360 | 44 | 315 | 33 | NA | 700 | 0.2 | 25.2 | 1200000
2022-02-20 | 105130 | 105.13 | 7.28 | 7.33 | 146 | 24 | 352 | 48 | 309 | 35 | NA | 500 | 0.3 | 24.7 | 1400000
2022-02-21 | 107370 | 107.37 | 7.31 | 7.33 | 149 | 18 | 364 | 36 | 306 | 32 | NA | 400 | 0.2 | 25.1 | 1100000
2022-02-22 | 111660 | 111.66 | 7.29 | 7.35 | 143 | 20 | 356 | 40 | 316 | 36 | NA | 600 | 0.3 | 25.3 | 1300000
2022-02-23 | 105640 | 105.64 | 7.33 | 7.28 | 139 | 21 | 344 | 44 | 308 | 34 | NA | 500 | 0.2 | 25.8 | 1200000
2022-02-24 | 105790 | 105.79 | 7.38 | 7.36 | 146 | 18 | 352 | 36 | 306 | 32 | NA | 700 | 0.3 | 25.2 | 1400000
2022-02-25 | 113400 | 113.4 | 7.19 | 7.28 | 136 | 20 | 336 | 40 | 302 | 33 | NA | 400 | 0.2 | 25.6 | 1700000
2022-02-26 | 112280 | 112.28 | 7.22 | 7.31 | 133 | 22 | 332 | 44 | 299 | 35 | NA | 600 | 0.3 | 25.9 | 1300000
2022-02-27 | 110180 | 110.18 | 7.33 | 7.33 | 136 | 18 | 344 | 36 | 306 | 32 | NA | 500 | 0.2 | 25.8 | 1100000
2022-02-28 | 111980 | 111.98 | 7.29 | 7.35 | 143 | 22 | 352 | 40 | 308 | 35 | NA | 700 | 0.3 | 25 | 1400000
Average | 111092.1429 | 111.0921 | 7.3086 | 7.3536 | 140.75 | 20.5357 | 347.5 | 41.4286 | 308.6786 | 32.6071 | NA | 553.5714 | 0.25357 | 25.0714 | 1346428.5714
3110.58
Source: | Logbook of Labarotory at Sewage Treament Plant
Min | 103810 | 103.81 | 7.19 | 7.28 | 129 | 18 | 328 | 36 | 299 | 28 |  | 400 | 0.2 | 23.5 | 1100000
Max | 117850 | 117.85 | 7.38 | 7.48 | 149 | 24 | 364 | 48 | 316 | 36 |  | 700 | 0.3 | 25.9 | 1700000

## Rajapur
Rajapur STP, 60 MLD STP at Prayagraj INLET FLOW & QUALITY REPORT
Date | Daily Feed Quantity MLD (Design- 60 MLD) |  | pH |  | BOD (mg/l) |  | COD (mg/l) |  | TSS (mg/l) |  | FECAL COLIFORM |  | FRC | DEWATERED SLUDGE |  | REMARKS
| M3 | MLD | Inlet pH (Design- <9) | Final pH (Design- 6.5 to 9.0) | Inlet BOD (Design- <250 mg/l) | Final BOD (Design - <20 mg/l) | Inlet COD (Design- <500 mg/l) | Final COD (Design - <30 mg/l) | Inlet TSS (Design- <500 mg/l) | Final TSS (Design - <30 mg/l) | Inlet (Design - NA) | Final (Design - <1000 MPN/100 ml) | Final (Design - 0.2 mg/l) | Outlet Concentration (>20%) | Fecal Coliform (20,00,000 MPN/gTS)
2022-02-01 | 81500 | 81.5 | 7.39 | 7.63 | 135 | 14 | 316 | 36 | 264 | 23 | NA | 400 | 0.2 | 22.38 | 1700000 | Retaining wall of tapping point for Rajapur SPS is broken hence raw water is going directly into the river.
2022-02-02 | 80260 | 80.26 | 7.43 | 7.71 | 125 | 16 | 308 | 44 | 276 | 25 | NA | 600 | 0.3 | 21.85 | 1400000
2022-02-03 | 79250 | 79.25 | 7.4 | 7.75 | 135 | 17 | 324 | 44 | 270 | 26 | NA | 500 | 0.2 | 24.08 | 1300000
2022-02-04 | 83570 | 83.57 | 7.35 | 7.68 | 140 | 18 | 316 | 48 | 288 | 28 | NA | 700 | 0.2 | 22.6 | 1400000
2022-02-05 | 76660 | 76.66 | 7.32 | 7.65 | 145 | 15 | 328 | 44 | 292 | 29 | NA | 400 | 0.2 | 23.12 | 1200000
2022-02-06 | 79910 | 79.91 | 7.34 | 7.72 | 130 | 17 | 324 | 40 | 272 | 25 | NA | 400 | 0.3 | 21.96 | 1400000
2022-02-07 | 78700 | 78.7 | 7.43 | 7.65 | 135 | 16 | 328 | 40 | 278 | 25 | NA | 500 | 0.2 | 22.49 | 1300000
2022-02-08 | 80290 | 80.29 | 7.39 | 7.69 | 140 | 18 | 312 | 44 | 282 | 23 | NA | 600 | 0.2 | 21.8 | 1700000
2022-02-09 | 80480 | 80.48 | 7.41 | 7.73 | 125 | 15 | 316 | 36 | 285 | 21 | NA | 400 | 0.3 | 22.68 | 1400000
2022-02-10 | 79900 | 79.9 | 7.35 | 7.68 | 145 | 17 | 328 | 44 | 287 | 27 | NA | 500 | 0.2 | 24.51 | 1300000
2022-02-11 | 77550 | 77.55 | 7.4 | 7.62 | 140 | 16 | 324 | 48 | 312 | 25 | NA | 600 | 0.2 | 21.46 | 1700000
2022-02-12 | 84160 | 84.16 | 7.37 | 7.69 | 130 | 18 | 336 | 36 | 295 | 22 | NA | 400 | 0.2 | 22.47 | 1400000
2022-02-13 | 83170 | 83.17 | 7.42 | 7.65 | 135 | 17 | 316 | 40 | 289 | 27 | NA | 400 | 0.3 | 23.25 | 1700000
2022-02-14 | 82090 | 82.09 | 7.39 | 7.72 | 125 | 15 | 336 | 48 | 297 | 21 | NA | 500 | 0.2 | 21.29 | 1400000
2022-02-15 | 80790 | 80.79 | 7.43 | 7.71 | 130 | 16 | 344 | 44 | 276 | 24 | NA | 600 | 0.2 | 23.91 | 1300000
2022-02-16 | 81520 | 81.52 | 7.41 | 7.67 | 140 | 17 | 312 | 40 | 295 | 23 | NA | 400 | 0.2 | 22.77 | 1700000
2022-02-17 | 76940 | 76.94 | 7.37 | 7.73 | 135 | 18 | 308 | 36 | 279 | 25 | NA | 400 | 0.2 | 21.33 | 1200000
2022-02-18 | 80840 | 80.84 | 7.43 | 7.68 | 145 | 16 | 328 | 48 | 292 | 22 | NA | 600 | 0.3 | 22.31 | 1400000
2022-02-19 | 78400 | 78.4 | 7.39 | 7.69 | 130 | 17 | 316 | 44 | 285 | 27 | NA | 500 | 0.2 | 23.39 | 1700000
2022-02-20 | 77140 | 77.14 | 7.46 | 7.66 | 140 | 17 | 324 | 40 | 298 | 24 | NA | 500 | 0.2 | 21.47 | 1300000
2022-02-21 | 80550 | 80.55 | 7.36 | 7.72 | 135 | 18 | 336 | 44 | 279 | 26 | NA | 400 | 0.2 | 22.79 | 1400000
2022-02-22 | 78660 | 78.66 | 7.42 | 7.7 | 130 | 15 | 328 | 40 | 283 | 25 | NA | 400 | 0.3 | 23.29 | 1700000
2022-02-23 | 80680 | 80.68 | 7.38 | 7.67 | 125 | 16 | 312 | 44 | 291 | 23 | NA | 600 | 0.2 | 21.32 | 1700000
2022-02-24 | 79380 | 79.38 | 7.45 | 7.65 | 135 | 18 | 344 | 48 | 288 | 28 | NA | 400 | 0.2 | 23.81 | 1200000
2022-02-25 | 82340 | 82.34 | 7.36 | 7.71 | 130 | 17 | 320 | 44 | 307 | 22 | NA | 500 | 0.2 | 21.4 | 1400000
2022-02-26 | 81520 | 81.52 | 7.44 | 7.69 | 125 | 17 | 316 | 36 | 293 | 26 | NA | 400 | 0.3 | 22.31 | 1300000
2022-02-27 | 80210 | 80.21 | 7.43 | 7.65 | 135 | 15 | 348 | 44 | 281 | 23 | NA | 600 | 0.2 | 21.27 | 1400000
2022-02-28 | 79360 | 79.36 | 7.39 | 7.72 | 130 | 17 | 328 | 48 | 276 | 25 | NA | 500 | 0.2 | 21.97 | 1700000
Average | 80207.8571 | 80.2079 | 7.3968 | 7.6864 | 133.9286 | 16.5357 | 324.1429 | 42.5714 | 286.0714 | 24.6429 | NA | 489.2857 | 0.225 | 22.4743 | 1453571.4286
2245.82
Source: | Logbook of Labarotory at Sewage Treament Plant
Min | 76660 | 76.66 | 7.32 | 7.62 | 125 | 14 | 308 | 36 | 264 | 21 |  | 400 | 0.2 | 21.27 | 1200000
Max | 84160 | 84.16 | 7.46 | 7.75 | 145 | 18 | 348 | 48 | 312 | 29 |  | 700 | 0.3 | 24.51 | 1700000