## Naini-2
Naini-2 STP, 42 MLD STP at Prayagraj INLET FLOW & QUALITY REPORT
Date | Daily Feed Quantity MLD (Design- 25 MLD) |  | pH |  | BOD (mg/l) |  | COD (mg/l) |  | TSS (mg/l) |  | FECAL COLIFORM |  | FRC | DEWATERED SLUDGE |  | REMARKS
| M3 | MLD | Inlet pH (Design- <9) | Final pH (Design- 6.5 to 9.0) | Inlet BOD (Design- <250 mg/l) | Final BOD (Design - <20 mg/l) | Inlet COD (Design- <500 mg/l) | Final COD (Design - <50 mg/l) | Inlet TSS (Design- <500 mg/l) | Final TSS (Design - <30 mg/l) | Inlet (Design - NA) | Final (Design - <1000 MPN/100 ml) | Final (Design - 0.2 mg/l) | Outlet Concentration (>20%) | Fecal Coliform (20,00,000 MPN/gTS)
2023-03-01 | 36210 | 36.21 | 7.63 | 7.76 | 160 | 24 | 344 | 40 | 324 | 25 | NA | 700 | 0.3 | 25.4 | 1700000
2023-03-02 | 36910 | 36.91 | 7.49 | 7.63 | 155 | 26 | 356 | 36 | 317 | 23 | NA | 700 | 0.2 | 23.6 | 1300000
2023-03-03 | 35980 | 35.98 | 7.42 | 7.58 | 170 | 25 | 348 | 44 | 308 | 24 | NA | 500 | 0.3 | 23.6 | 1400000
2023-03-04 | 35620 | 35.62 | 7.29 | 7.46 | 165 | 26 | 364 | 40 | 325 | 20 | NA | 800 | 0.2 | 25.7 | 1700000
2023-03-05 | 36710 | 36.71 | 7.59 | 7.65 | 155 | 24 | 324 | 44 | 292 | 24 | NA | 600 | 0.3 | 25.5 | 1300000
2023-03-06 | 36940 | 36.94 | 7.52 | 7.57 | 160 | 25 | 302 | 40 | 284 | 23 | NA | 700 | 0.2 | 21.4 | 1400000
2023-03-07 | 39890 | 39.89 | 7.46 | 7.63 | 170 | 24 | 324 | 36 | 309 | 21 | NA | 500 | 0.3 | 26.6 | 1700000
2023-03-08 | 46740 | 46.74 | 7.49 | 7.58 | 150 | 26 | 332 | 40 | 304 | 22 | NA | 400 | 0.2 | 25.2 | 1400000
2023-03-09 | 47990 | 47.99 | 7.76 | 7.55 | 155 | 23 | 344 | 44 | 314 | 18 | NA | 700 | 0.3 | 25.3 | 1700000
2023-03-10 | 36520 | 36.52 | 7.61 | 7.48 | 165 | 25 | 336 | 40 | 308 | 21 | NA | 600 | 0.2 | 25.6 | 1300000
2023-03-11 | 36210 | 36.21 | 7.42 | 7.57 | 155 | 26 | 340 | 36 | 316 | 23 | NA | 400 | 0.3 | 25.1 | 1700000
2023-03-12 | 37520 | 37.52 | 7.73 | 7.6 | 165 | 25 | 320 | 40 | 298 | 20 | NA | 600 | 0.3 | 25.4 | 1400000
2023-03-13 | 36850 | 36.85 | 7.47 | 7.63 | 170 | 24 | 344 | 36 | 331 | 21 | NA | 700 | 0.2 | 23.8 | 1300000
2023-03-14 | 37410 | 37.41 | 7.39 | 7.69 | 165 | 23 | 336 | 44 | 313 | 19 | NA | 800 | 0.2 | 23.3 | 1400000
2023-03-15 | 1920 | 1.92 | - | - | - | - | - | - | - | - | NA | - | - | - | - | Plant was under shutdown from 12:00 AM on 15.03.2023 to 5:30 PM on 22.03.2023 due to launder modification work in tubesettlers. Therefore, Naini-II & Mawaiya SPS are also stopped.
2023-03-16 | 3830 | 3.83 | - | - | - | - | - | - | - | - | NA | - | - | - | -
2023-03-17 | 1154 | 1.154 | - | - | - | - | - | - | - | - | NA | - | - | - | -
2023-03-18 | 609 | 0.609 | - | - | - | - | - | - | - | - | NA | - | - | - | -
2023-03-19 | 1840 | 1.84 | - | - | - | - | - | - | - | - | NA | - | - | - | -
2023-03-20 | 5310 | 5.31 | - | - | - | - | - | - | - | - | NA | - | - | - | -
2023-03-21 | 3010 | 3.01 | - | - | - | - | - | - | - | - | NA | - | - | - | -
2023-03-22 | 10210 | 10.21 | 7.38 | 7.56 | 150 | 24 | 324 | 44 | 282 | 15 | NA | 500 | 0.3 | 24.6 | 1400000
2023-03-23 | 31250 | 31.25 | 7.46 | 7.64 | 165 | 26 | 316 | 36 | 301 | 20 | NA | 700 | 0.3 | 23.4 | 1300000
2023-03-24 | 33220 | 33.22 | 7.56 | 7.68 | 155 | 27 | 340 | 40 | 281 | 17 | NA | 600 | 0.2 | 25.6 | 1400000
2023-03-25 | 35680 | 35.68 | 7.31 | 7.52 | 150 | 26 | 318 | 36 | 293 | 24 | NA | 700 | 0.2 | 24.1 | 1700000
2023-03-26 | 34870 | 34.87 | 7.28 | 7.57 | 160 | 25 | 324 | 40 | 308 | 25 | NA | 500 | 0.3 | 25.4 | 1400000
2023-03-27 | 36210 | 36.21 | 7.41 | 7.67 | 155 | 26 | 328 | 36 | 316 | 23 | NA | 500 | 0.2 | 25 | 1300000
2023-03-28 | 35320 | 35.32 | 7.39 | 7.48 | 160 | 22 | 344 | 44 | 326 | 20 | NA | 700 | 0.2 | 25.2 | 1300000
2023-03-29 | 37450 | 37.45 | 7.52 | 7.78 | 165 | 24 | 356 | 48 | 331 | 27 | NA | 400 | 0.3 | 23.6 | 1700000
2023-03-30 | 36790 | 36.79 | 7.43 | 7.61 | 155 | 24 | 348 | 40 | 319 | 24 | NA | 600 | 0.2 | 24.4 | 1400000
2023-03-31 | 36680 | 36.68 | 7.54 | 7.81 | 170 | 26 | 312 | 48 | 280 | 28 | NA | 500 | 0.3 | 23.9 | 1400000
Average | 28479.129 | 28.4791 | 7.4813 | 7.6125 | 160.2083 | 24.8333 | 334.3333 | 40.5 | 307.5 | 21.9583 | NA | 600 | 0.25 | 24.6125 | 1458333.3333
882.853
Source: |  | Logbook of Labarotory at Sewage Treament Plant
Min | 609 | 0.609 | 7.28 | 7.46 | 150 | 22 | 302 | 36 | 280 | 15 |  | 400 | 0.2 | 21.4 | 1300000
Max | 47990 | 47.99 | 7.76 | 7.81 | 170 | 27 | 364 | 48 | 331 | 28 |  | 800 | 0.3 | 26.6 | 1700000

## Phaphamau
Phaphamau STP, 14 MLD STP at Prayagraj INLET FLOW & QUALITY REPORT
Date | Daily Feed Quantity MLD (Design- 10 MLD) |  | pH |  | BOD (mg/l) |  | COD (mg/l) |  | TSS (mg/l) |  | FECAL COLIFORM |  | FRC | DEWATERED SLUDGE |  | REMARKS
| M3 | MLD | Inlet pH (Design- <9) | Final pH (Design- 6.5 to 9.0) | Inlet BOD (Design- <250 mg/l) | Final BOD (Design - <20 mg/l) | Inlet COD (Design- <500 mg/l) | Final COD (Design - <50 mg/l) | Inlet TSS (Design- <500 mg/l) | Final TSS (Design - <30 mg/l) | Inlet (Design - NA) | Final (Design - <1000 MPN/100 ml) | Final (Design - 0.2 mg/l) | Outlet Concentration (>20%) | Fecal Coliform (20,00,000 MPN/gTS)
2023-03-28 | 12570 | 12.57 | 7.33 | 7.65 | 155 | 14 | 364 | 36 | 322 | 21 | NA | 400 | 0.3 | 23.86 | 1700000
2023-03-29 | 12790 | 12.79 | 7.35 | 7.72 | 160 | 15 | 368 | 32 | 326 | 24 | NA | 700 | 0.2 | 23.07 | 1700000
2023-03-30 | 13180 | 13.18 | 7.34 | 7.75 | 165 | 16 | 368 | 40 | 325 | 25 | NA | 600 | 0.3 | 22.4 | 1400000
2023-03-31 | 12590 | 12.53 | 7.36 | 7.76 | 150 | 14 | 372 | 44 | 327 | 27 | NA | 500 | 0.2 | 23.79 | 1300000
Average | 12782.5 | 12.7675 | 7.345 | 7.72 | 157.5 | 14.75 | 368 | 38 | 325 | 24.25 | NA | 550 | 0.25 | 23.28 | 1525000
51.07
Source: |  | Logbook of Labarotory at Sewage Treament Plant
Min | 12570 | 12.53 | 7.33 | 7.65 | 150 | 14 | 364 | 32 | 322 | 21 |  | 400 | 0.2 | 22.4 | 1300000
Max | 13180 | 13.18 | 7.36 | 7.76 | 165 | 16 | 372 | 44 | 327 | 27 |  | 700 | 0.3 | 23.86 | 1700000